**Exporting DICOM files from Kavo**

1. Create a new folder on the desktop (right-click desktop and select “New Folder”). Name the folder with the patient’s name.

2. Open the patient’s CBCT scan in your Kavo CBCT machine. In the top left corner, click “File” and “Save As” (not “Save As Project”). For “File Save Type”, select “Multi-file DICOM with. dcm extension” and click “OK”.

3. A window should appear which allows you to pick the location where you will export the DICOM files to. Select the folder which you created on the desktop in step 1, and click “OK”.

4. A “DICOM File Save Option” window should appear. Under “Compression” select “Uncompressed”. Click “OK”.

5. The DICOM files should now be exporting. After the files are completely exported, you should see a confirmation window appear. Click “OK”.

6. Open the desktop folder you created in step 1 to verify the DICOM files were all exported. There should be several hundred files since these represent the slices of the CBCT scan. Right click on this folder to compress/zip.

7. Access your account on the ORAD portal and select the zipped folder to upload your images to your order.