How to Export DICOM Files from Instrumentarium

Create a new folder on your desktop labeled with the patient’s name

Open the patient’s CBCT scan in your Instrumentarium CBCT machine. In the top left corner, click “File” and “Open image”.

Click on the CBCT to select it. Then click “Export”

A window should appear which allows you to pick the location where you will export the DICOM files to. Select the folder which you created on the desktop in step 1, and click “OK”. The DICOM files should now be exporting.

Open the folder on your desktop you created in step 1 in order to verify the DICOM files were all exported. There should be several hundred files since these represent the slices of the CBCT scan.

Highlight all of the DICOM files. You can do this by either: 1.) clicking on one file in the folder and then holding the “Control” and “A” buttons, or 2.) clicking on the first DICOM file, holding shift, and then clicking on the last DICOM file. Then drag and drop all of the highlighted DICOM files to your patient’s folder.